# Device Data Model & Readiness Extension

CKM Data Readiness Infrastructure — v1

This document defines the device-agnostic event model and associated readiness checks that support CGM and other wearable data (connected weight scales, home blood pressure monitors) within the CKM Data Readiness framework.

Device data follows the same variable-level and use-case evaluation model as EHR data. This document describes the additional requirements specific to device and time series data, and how they integrate with the core readiness framework.

Core Principle: Device data is evaluated as a time series variable, with additional requirements for temporal density, consistency, and reproducibility of derived metrics.

## Strategic Positioning

In rural settings, EHR data is often incomplete, inconsistent, or delayed to integrate. Device-derived data provides an early operational path for risk stratification and remote monitoring before full EHR integration is in place.

This enables staged deployment:

- Device-based signals support initial use cases (risk stratification, remote monitoring) with limited EHR dependency

- As EHR data readiness improves, device and EHR data are combined for more advanced care coordination and reporting

- The same readiness framework applies throughout, enabling consistent evaluation and improvement across data types

## 1. Device-Agnostic Event Model

All device data is ingested through a common event model regardless of device type or manufacturer. This model enables consistent evaluation, storage, and analysis across device types.

### A. Device Source

Metadata identifying the device that produced the data:

| Field | Description |
| --- | --- |
| device_id | Unique identifier for the device |
| device_type | Type of device: CGM, scale, BP cuff |
| manufacturer | Device manufacturer (e.g., Dexcom, Abbott, Withings) |
| model | Device model name or number |
| data_source | How data is received: API, file upload, or manual entry |

### B. Measurement Event

Each individual reading or measurement from a device:

| Field | Description |
| --- | --- |
| patient_id | Patient identifier — must match the identity resolution system |
| device_id | Links measurement to a specific device record |
| timestamp_utc | Measurement time in UTC — primary timestamp for analysis |
| timestamp_local | Measurement time in local timezone — used for concordance checks |
| measurement_type | Type of measurement: glucose, weight, systolic_bp, diastolic_bp |
| value | Numeric measurement value |
| unit | Unit of measurement (mg/dL, mmol/L, kg, lbs, mmHg) |

### C. Device Metadata (Optional)

Additional metadata supporting readiness evaluation and derived metric computation:

| Field | Description |
| --- | --- |
| sampling_frequency | Expected reading interval (e.g., every 5 minutes for CGM) |
| algorithm_version | Sensor algorithm version — relevant for derived metric consistency |
| firmware_version | Device firmware version (optional) |

## 2. Primary vs. Derived Variables

Device data produces two categories of variables. These are handled differently in the readiness framework.

### Primary Variables

Primary variables are the raw time series readings from the device. They are the source of truth for all analysis.

| Device | Primary Variable |
| --- | --- |
| CGM | Glucose time series — raw readings at device sampling frequency |
| Scale | Weight time series — individual weigh-in events |
| BP cuff | Systolic and diastolic BP time series — individual measurement events |

### Derived Variables

Derived variables are computed from primary variables. They should not be trusted directly from device output — they must be recomputed from raw data to ensure consistency across manufacturers and algorithm versions.

| Device | Derived Variables (Recompute from Raw) |
| --- | --- |
| CGM | TIR (time in range), GMI (glucose management indicator), variability |
| Scale | Rate of weight change, rolling trends |
| BP | Rolling averages, variability indices |

Derived metrics such as TIR, GMI, and variability must be recomputed from raw primary data. Device-reported derived values vary by manufacturer and algorithm version and should not be used directly for cross-site comparison.

## 3. Variable-Level Evaluation — Device-Specific Checks

Device variables are evaluated using the same two-dimensional framework as EHR variables (Technical evaluation and Readiness evaluation), with additional checks specific to time series data.

### Technical Checks

- Ingestion completeness — device records meet not-null requirements for all required fields

- Timestamp parsing and normalization — UTC and local timestamps present and correctly parsed; timezone normalization applied

- Unit normalization — values normalized to standard units across device types and manufacturers

- Patient-device linkage — device records reliably linked to the correct patient; linkage failures detected and flagged

- Duplicate detection — redundant records from overlapping device feeds removed

### Readiness Checks

Plausibility

- Values fall within expected physiologic ranges for the measurement type (e.g., glucose 40–400 mg/dL, weight 20–300 kg, BP systolic 60–250 mmHg)

Temporal Density

- Sampling frequency matches expected device interval (e.g., every 5 minutes for CGM)

- Percentage coverage over a defined analysis window meets minimum threshold (e.g., ≥70% over 14 days)

Temporal Consistency

- Timestamps are monotonically increasing within a patient session

- UTC and local timestamps are consistent; timezone offsets applied correctly

Concordance (Critical)

- Derived metrics are consistent with values recomputed from raw data

- Cross-device and cross-vendor representations are consistent for the same variable type

## 4. Use-Case Evaluation — Fit-for-Purpose

Device variable readiness feeds into use-case fitness evaluation in the same way as EHR variables. A use case requiring device data is assessed against the combined readiness of all required variables.

### Example: CGM-Based Diabetes Risk Stratification

Requirements • Temporal coverage: ≥70% of expected readings over 14 days • Consistent sampling intervals (no systematic gaps) • Stable patient-device linkage across the analysis period • Plausible glucose values throughout

| Status | Condition | Description |
| --- | --- | --- |
| NOT READY | Insufficient coverage | < 70% of expected readings present; major temporal gaps prevent longitudinal analysis |
| PARTIALLY READY | Moderate gaps or issues | Coverage between 50–70%; identity linkage partially resolved; analysis feasible with caveats |
| READY | Sufficient density | ≥70% coverage with consistent sampling; identity linkage confirmed; derived metrics validated |

## 5. Time Window Definition

Device-based variables require explicit definition of analysis windows. All temporal density, coverage, and derived metric computations are evaluated within a defined window. Window definition must be standardized across sites to ensure comparability.

Examples of analysis windows used in the pilot:

- 14-day rolling window — primary window for CGM temporal density and TIR computation

- 30-day rolling window — used for trend analysis and longer-term coverage assessment

- Encounter-anchored window — device readings evaluated within a defined period before or after a clinical encounter

Window definition is specified per use case and per condition plug-in. Consistent window definitions are required for NCQA alignment and cross-site comparability. TIR and GMI computations are only valid when evaluated within a standardized window with sufficient temporal density.

NCQA alignment note • TIR and GMI reporting standards specify evaluation windows (typically 14 days minimum). • Sites must meet temporal density thresholds within those windows before derived metrics are considered valid. • The readiness framework evaluates window compliance before reporting derived metrics as available.

## 6. Remediation Patterns

When device variable checks fail, the methodology generates targeted remediation guidance. Common remediation patterns include:

- Normalize timestamps and units — standardize timezone handling and unit conversion across device types

- Recompute derived metrics — regenerate TIR, GMI, and variability from raw glucose time series to ensure cross-manufacturer consistency

- Flag or interpolate small gaps — identify acceptable gaps and apply consistent handling rules

- Improve patient-device linkage — standardize patient ID handling in device ingestion pipeline; audit mapping logic

- Address temporal density gaps — assess device adherence; implement patient outreach for low-coverage cases

## 7. Rural Health Positioning

Device-derived data is particularly valuable in rural settings for three reasons:

Early operational capability. Device data enables risk stratification and remote monitoring before full EHR integration is complete. This allows the pilot to demonstrate value sooner and at lower infrastructure cost.

Reduced EHR dependency. In settings where EHR data is fragmented or delayed, device data provides a more reliable real-time signal for clinical risk detection.

Staged improvement path. Beginning with device-based use cases creates momentum and infrastructure that supports progressive integration of EHR data as data readiness improves.

## 8. Relationship to Core Framework Documents

Methodology Architecture — describes how device variables fit into the variable-level evaluation and use-case fitness model, with a worked CGM example.

Technical Specification — contains the device check registry integrated with the full check framework, scoring model, and variable tagging.

Operational Care Model — describes how device-generated signals translate into clinical workflows for care teams.

Pilot Architecture Diagram — shows where device data sources (CGM, scale, BP cuff) connect to the regional aggregation node and readiness infrastructure.